# Questions to Ask About Environmental Testing

Before deciding where to place environmental samples, consider the following questions.

For ALL Samples

- How many samples are there?

- Where are the samples located?

- How far from the source of contamination is each sample?

- Where is the sample location in relation to the source of the contamination?

- Are the samples properly located to detect the contaminants?

- What chemicals will be looked for?

- What collection methods and procedures will be used in the field?

- What laboratory methods and procedures will be used?

- What are the “limits of detection” for each substance (or group of substances)?

- What quality control measures will be used?

- Where are the samples going to be analyzed?

- How long will it take for the samples to be analyzed?

- Are background sample locations near any potential source of contamination?

For Groundwater Samples

- What is the rate and direction of groundwater flow?

- How deep is the water table?

- Is there more than one water table?

- Are there barriers that stop downward movement of the contaminants?

- Where does the groundwater discharge?

- Do all contaminants move equally in the groundwater plume?

- Do some contaminants evaporate out of the groundwater into the soil and travel through the soil into basements or other discharge areas?

- How deep is the monitoring well?

- Do the wells collect water from the same water table where the contaminants are present?

- Is the monitoring well screened? If so, at what depth?

- Are the wells properly sealed to prevent surface water contamination and water from different water zones from entering the well?

- Are the background wells located in clean water?  Are they in the same water table as the contaminants?

For Surface Water Samples

- Where are the proposed sample locations in relation to the point source?

- Will samples be taken both upstream and downstream of the point source?

- At what depth will the samples be taken?

- Where will the water samples be taken – at the edge of the body of water, or in the middle of the waterway?

- Where does the surface water drain?

- Are there pockets of standing water in the area?

- Will sediment samples be taken? If so, where?

For Air Samples

- What is the prevailing wind direction?

- How far from the source(s) of contamination is the air sampling station?

- Where is the sample location in relation to the emissions source(s)?

- What is the duration of the air sample?

- What was the temperature (generally) and time of year when the sample was taken?

- What kind of collecting/capturing devices will be used?

- How far above the ground will the air sampling equipment be located?

For Soil Samples

- Is the sample a “grab” sample or a composite sample taken from multiple locations?

- What was the depth of the sample?

- What is the source of the chemicals entering the soil – is it coming from air emissions, groundwater, surface water, leaking lagoons, etc.?

- Are there any obvious signs of contamination (discoloration, odors, etc.)

- What is the temperature (generally) at the time of sampling?

- How quickly will the sample be analyzed?

- Will the sample be placed on ice until it is analyzed?

Updated May 2018